## Validation (hidden)
Gas | CAN | Yes | PLE601
Diesel | MODBUS | No | PLE641
Both

## Start
Cat Remote Asset Monitoring Site Assessment for PLE or PLG |  | Date: | 2018-08-01
Instructions: When completed, have the dealer PL Admin (or TC) create a System Tech service request and submit this document for review. For more information on Cat RAM visit -Electric Power on https://engines.cat.com/en/cat-connect0/electric-power/dealer-readiness.html -Marine on https://engines.cat.com/en/cat-connect0/marine/marinecatram.html Purpose: 1. Verify that your Generator set/Engine is compatible with the Product Link Generation (PLG) or Elite (PLE) solution and Cat RAM. 2. Determine the appropriate configuration file for your unit
Dealer Contact
Dealer Name | PT. TRAKINDO UTAMA
Dealer Code | J210
Contact Name
Contact Email
Contact Office Phone
Contact Mobile Phone
Contact Role/Title
Customer Contact (optional)
Customer Name | PT. PERTAMINA EP
Customer CDID
CWS to give access to Cat RAM
Contact Name
Contact Email
Contact Office Phone
Contact Mobile Phone
Contact Role/Title

## Marine
Vessel Information
Vessel Name
Vessel IMO Number
Hull ID
Vessel Type (Ex.)
Vessel Location
Customer Name
Does the vessel have any interaction with any of the following U.S. embargoed countries: Belarus, Cuba, Iran, North Korea, Sudan or Syria? | No
Optional NMEA 200 Third Party GPS (If using a PLE601 or PLG601)
Type of Control System
Manufacturer
Model
Does this GPS system communicate via NMEA 2000?
Is this GPS System connected to the Product Link Device?
What is the Engine SN that the NMEA 2000 GPS is connected to?
| Engine #1 | Engine #2 | Engine #3 | Engine #4 | Generator Set #1 | Generator Set #2
Application (Engine or Genset)
Engine Make / Generator Set Make
Engine Model / Generator Set Model
Product Serial Number / Prime Product Serial Number
Engine / Genset Location
Fuel Type (Gas or Diesel)
Note: Please add more engines or generator sets as needed
Component / Protocol Details
ECM Firmware part number (attach a PSR!)
Is the engine wired for CAN, MODBUS, or Both?
What is the source address of the ECM? (0 or 1)
Is the ECM powered all the time, or only when the engine is running?
If using CAN, is CAN1 available?
Is there anything else wired to MODBUS? (please specify)
Generator Controller
Generator Controller Firmware Part Number
Product Link Device Details
Device Type (PLE601, PLE641, PLG601 or PLG641)
PL Hardware Part Number (EX: 459-0786 or 491-7590)
PL Serial Number (for PLE Devices Ex. 1146F023TR)
PL Firmware part number
MAC Address
LEHE1750-00 (emc.cat.com) updated June 2018, superceeds LEHM0313

## Electric Power
| Engine #1 | Engine #2 | Engine #3 | Engine #4 | Engine #5 | Engine #6
Nameplate Information
Generator Set Make | AA | AA
Generator Set Model | G3516 | G3516
Prime Product Serial Number | 8LD00076 | L6A00298
Fuel Type (Gas or Diesel) | Gas | Gas
Component / Protocol Details
Generator Controller Model (include PSR Report if available) | EMCP 4.2 | EMCP II+
Engine Controller Type (include PSR Report if available), or N/A for Mechanical Engine
Is the Generator Controller wired for CAN, MODBUS, or Both? | CAN | CAN
Does the Engine ECM support/is wired for J1939? | Yes | Yes
Is the ECM powered all the time, or only when the engine is running? | Only Engine Running | Only Engine Running
If using CAN, is CAN1 available? | Yes | Yes
Is there anything else wired to MODBUS? (such as a 3rd party SCADA system - please specify) | No | No
If using MODBUS, what is the slave address of the Generator controller (usually 1)
Important for Parameter Configuration
For EMCP, is it configured to read EngineOperatingState from the CAN Data Link or Hardwired inputs? | CAN | CAN
Is the Coolant Temperature sensor wired to the EMCP or Engine ECM? | EMCP | EMCP
Is the Oil Pressure sensor wired to the EMCP or Engine ECM? | EMCP | EMCP
Optional Information only (This is helpful to fill out for Complex Sites)
If Ethernet, is the customer site using IPv4 addresses (only IPv4 is supported)?
If Ethernet, will the device be configured for DHCP or Static IP Address?
If Static IP Address:
What is the static IP Address assigned by the customer?
What is the subnet mask provided by the customer?
What is the default gateway IP address provided by the customer?
What DNS server(s) are used by the customer site?
If applicable, provide the proxy details (host, username, password)
How is the generator output wired (Star, 3-Wire Delta, 4-Wire Delta, 2-Wire 1-Phase, 3-Wire 1-Phase)? | Star | Star
Original file LEHE1750 (emc.cat.com) updated June 2018 supersedes LEYE0019

## Rail
Nameplate Information
Prime Product Serial Number
Fuel Type (Gas or Diesel) | Diesel
Component / Protocol Details
Engine Controller Type (include PSR Report if available), or N/A for Mechanical Engine
Does the Engine ECM support/is wired for J1939? | YES
Is the ECM powered all the time, or only when the engine is running?
If using CAN, is CAN1 available? | YES
Is there anything else wired to MODBUS? (such as a 3rd party SCADA system - please specify) | NO
Data Transmission (Ethernet / Cellular)
If Cellular, is the Customer using a preferred carrier or third party?
Important for Parameter Configuration
Is the Coolant Temperature sensor wired to the EMCP or Engine ECM? | Engine ECM
Is the Oil Pressure sensor wired to the EMCP or Engine ECM? | Engine ECM
Note: Rail assets will be added to the Marine Cat RAM site so the user can see history of location unless the dealer requests the unit be added to the EP Cat RAM site.
Note on A8: Please attach a PSR report if possible